## Research Articles Tracker Templ
S.No | Research Article URL | Business Problem | Data set used & variable used | Download Data (If available) | Solution approach | Any interesting insights
1 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.2201 | Modeling wind turbine failures based on weather conditions | Yes(Rated Capacity-kW, Age-years, Nb. Of turbines, Hub height-m, IEC terrain Class, Total No. of failures, Failure/Turb./Month, No. of gearbox failures, Failure/Turb./month gearbox) | NA | Develop regression models for monthly wind turbine failures, utilizing advanced estimation methods and emphasizing variable selection for accurate capture of weather conditions' impact. | • Weather conditions significantly affect wind turbine failures, requiring monthly analysis due to seasonal variations. • Turbine failures are influenced by complex combinations of operational and environmental conditions, requiring comprehensive modeling approaches.
2 | https://ietresearch.onlinelibrary.wiley.com/doi/10.1049/iet-rpg.2015.0020 | Optimize wind turbine reliability and performance by analyzing operational data, categorizing failures | Yes(Turbine OK counter,Service on, Alarm,Turbine state, Flag, Number of WTGs, Rated power- kW, Days of data, Turbine × days) | NA | Utilizing 10-minute SCADA data and alarm logs, the study conducts reliability analysis by extracting failure events, categorizing them based on wind turbine assemblies and types, and performing statistical analysis. | • Electrical component failures are more frequent than mechanical ones, attributed to wind farm age. • High tower vibrations lead to manual restarts, an uncommon issue causing downtime. • Some data periods were removed due to control adjustments and initial troubleshooting post-commissioning.
3 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.2846 | Insufficient reliable wind turbine failure data impedes accurate modeling and optimization, posing challenges for the industry. | Yes(Failure rate, Power rating (MW), No. of turbines) | NA | Proposes advanced data management systems and improved data processing practices to enhance data quality and availability. This enables inferences between factors and wind turbine failure intensity, benefiting wind farm stakeholders. | • addressing uncertainties in reliability and maintainability estimates. • Used hierarchical models to quantify wind turbine reliability. • quantified the impact of operational parameters on failure rates.
4 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.2402 | Offshore wind turbine fault alarm prediction | Yes(Alarms, % of failure alarms, % of critical failure alarms) | NA | Developed a highly accurate data-driven tool integrating maintenance logs, alarms, and wind speed data to predict offshore wind turbine faults (99.3% accuracy); enables efficient resource planning, reduced downtime, and informed decision-making for operators. | • The tool has shown an overall 99.3% accuracy in predicting fault alarms based on two years of data from a met mast. • The tool can be implemented by offshore wind farm operators using readily available operational SCADA and met-mast data. • The study highlights the relationship between wind speed and failure rates, indicating that higher wind speeds can lead to more alarms.
5 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.2706 | Addressing wind turbine blade failures in India, emphasizing the need for effective maintenance and repair strategies. | Yes(System name, Component name, Typical downtime for the component failure (hours)) | NA | Utilizes surveys to collect experiences of service teams and wind farm owners, analyzing observations to identify common manufacturing defects, stress importance of condition-based maintenance, and enhance overall maintenance strategies. | • Recognition of prevalent manufacturing defects in wind turbine blades. • Identification of challenges faced in wind turbine operation and maintenance. • Urgent need for enhanced maintenance strategies, informed by service team and owner experiences.
6 | https://ietresearch.onlinelibrary.wiley.com/doi/epdf/10.1049/iet-rpg.2015.0020 | Addressing the reliability analysis of wind turbine assemblies to minimize downtime and enhance operational efficiency. | Yes(TimeStamp, Turbine Ok counter, Service on, Alarm, Turbine State) | NA | Analyzing SCADA data and alarm logs to extract and analyze failure events, enabling statistical analysis for reliability assessment. | • Understanding the distribution of downtime across different wind turbine assemblies and failure event types. • Noting higher frequency of failures in electrical components compared to mechanical components. • Identifying specific issues like high tower vibrations leading to downtime events, aiding targeted maintenance efforts.
7 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/stc.2852 | Developing a predictive maintenance strategy for industrial systems by controlling damage-sensitive features for early failure prediction. | Yes(Defect Designation, Length(m), Distance from the root(m), Strain guage position, label) | NA | Focuses on the identification of damage-sensitive features, utilizes statistical analysis techniques for early failure prediction, and implements control strategies to mitigate potential failures. | • Recognizing damage-sensitive features crucial for early failure prediction. • Utilizing statistical analysis techniques to predict failures in advance. • Implementing control measures to proactively mitigate potential failures.
8 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.2708 | Assessing the impact of wind turbine faults on power generation using Monte Carlo simulation, considering factors like blade damage and gearbox failure. | Yes(Variables of the wind turbine, The nominal values in 10 m/s, The nominal values in 22 m/s) | NA | Utilizes Monte Carlo simulation to model uncertainties in fault parameters, incorporating various fault scenarios into a wind turbine power model to simulate power output effects, enabling comprehensive evaluation. | • Evaluates diverse faults (blade damage, gearbox failure, etc.) on wind turbine power generation. • Provides valuable insights into potential power losses due to different types of wind turbine faults.
9 | https://iopscience.iop.org/article/10.1088/1742-6596/753/7/072027/meta | Minimizing operation and maintenance costs in the wind energy sector by understanding wind turbine failures. | Yes(WT Make, Technology, Rated Capacity (kW), Nb of Turbines, Failures per Turbine, Alarms per Turbine | NA | Analyzing historical failure databases, maintenance logbooks, and incorporating SCADA alarms to assess frequency, severity, and additional contextual data for reliable failure analysis. | • Emphasizes the need for standardized data treatment and component classification for effective failure analysis. • Recognizes the potential of SCADA alarms in enhancing reliability modeling and maintenance decision-making.
10 | https://onlinelibrary.wiley.com/doi/epdf/10.1002/we.1887 | Addressing failure rates, repair time, and unscheduled O&M costs in offshore wind farms to optimize operational efficiency. | Yes(Manual reset, Minor repair, medium repair, major repair, major replacement, Annual service) | NA | Analyzing failure data, conducting cost analysis, and identifying critical components to minimize failures and optimize maintenance activities. | • Identifying crucial components with high failure rates and lengthy repair times. • Estimating unscheduled costs associated with identified failures. • Recommending strategies to minimize failures and enhance maintenance efficiency.